## Roof and Schedule
Building | Year Built | [11 empty] | 2001 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 |  | # Roofs | $/Roof | $ year
k | Roof | 1979 | 2003 | 23 | 2003 | [7 empty] | 2017: 2017
L | Roof | 1979 | 2007 | 26 | [8 empty] | 2017: 2017 | 2012 | 0
M | Roof |  |  | 1981 | 16 | 1999 | [6 empty] | 2014: 2014 | 2013 | 0
N | Roof |  |  | 1981 | 16 | 1999 | [6 empty] | 2014: 2014 | 2014 | 2 | 20000 | 40000
O | Roof |  |  | 1981 | 18 | 2001 | [6 empty] | 2016: 2016 | 2015 | 0 |  | 0
P | Roof |  |  | 1981 | 18 | 2001 | [6 empty] | 2016: 2016 | 2016 | 4 | 20000 | 80000
Q | Roof |  |  | 1981 | 24 | 2007 | [6 empty] | 2021: 2021 | 2017 | 3 | 20000 | 60000
R | Roof |  |  | 1981 | 19 | 2002 | [6 empty] | 2017: 2017; 2021: . | 2018 | 0 |  | 0
S | Roof | [5 empty] | 1987 | 20 | **2009 |  |  |  | 2023: 2023 | 2019 | 1 | 20000 | 20000
T | Roof | [6 empty] | 1988 | 19 | *2008 |  |  | 2022: 2022 | 2020 | 1 | 20000 | 20000
U | Roof | [6 empty] | 1988 | 15 | 2005 |  |  | 2020: 2020 | 2021 | 2 | 20000 | 40000
V | Roof | [8 empty] | 1990 | 12 | 2004 | 2019: 2019 | 2022 | 1 | 20000 | 20000
W | Roof | [8 empty] | 1990 | 14 | 2006 | 2021: 2021 | 2023 | 1
X | Roof | [11 empty] | 2001: 2001; 2016: 2016 |  | 15 |  | 280000
Y | Roof | [11 empty] | 2001: 2001; 2016: 2016
| Due | [24 empty] | approx 20,000 per roof
| Completed | [11 empty] | 2001: * done early |  | Avg 2.1 roof / year
| TB Scheduled | [11 empty] | 2001: ** done late
In Process
Building Built
While roofs should last 15 to 25 years dependant upon numerous factors the experience at Hunter Highlands II has varied. Projected lives are 15 years. In some circumstances the roofs have lasted far longer, in others less. Location of indivdual buildings, High winds, extreme temperature changes, sun and shade issues all have an effect on usefull lives of the roofs.
Painting has been estimated for an average of 5 years. again due to the location of the building,weathering and varied quality of paint application through a variety of different contractors, managers, boards over the years effect the life of the paint.
2007 contracts call for two coats, calking, proper application of stain v/s paint on surfaces.